## Slide 1
Comparison between
Static and Dynamic Behavior
measured in
Triaxial and Oedometric test systems
Mohammad Hossain Bhuiyan
NTNU, Norway
Rune M Holt
NTNU & SINTEF, Norway
Idar Larsen
SINTEF, Norway
Jørn F Stenebråten
SINTEF, Norway

## Slide 2
Uniaxial compaction (K0) tests with uncemented sand and clay in an oedometer and a triaxial set-up show different results:
  Larger static modulus in triaxial set-up, in particular for clay
  Higher wave velocities in triaxial set-up, but similar stress sensitivities
Why?
  Stress paths were not REALLY the same in the two set-ups?
  Samples were not the same?
  We did something stupid..
Motivation and Objective

## Slide 3
Oedometeric Set-up Triaxial Set-up
Uniaxial strain set-up
Vertical P- & S- +
Horizontal P-wave transducers.
Dimension of the sample:
Diameter: 70mm
Height: 22-25mm
Biaxial stress set-up
  Confining pressure monitored
Vertical & horizontal P- & S-wave transducers
Dimension of the sample:
Diameter: 38mm
Height: 60-65mm

## Slide 4
Sample Preparation & Boundary conditions
Oedometer | Triaxial
Clay: Little amount of dry Kaolinite (< 5 µm) powder mixed with 3.5 % NaCl brine and stirred until visible homogeneous mixture. Procedure repeated until dry powder converted to slurry which was evacuated to remove trapped air | 
Clay: Sample was directly poured into the sample holder | Clay: Sample was poured into Pre-compaction cell.
Sand: Medium Ottawa sand w 3.5 % NaCl directly poured into the sample holder | 
Pre-compacted under about 2.7 MPa | Pre-compacted under about 3.0 MPa
Oedometer | Triaxial
Samples in direct contact with steel wall | Samples in contact with rubber/teflon sleeve
K0 mode maintained by thick steel wall | K0 mode maintained by confining pressure increment to keep zero horizontal strain

## Slide 5
Stress Path during tests
Oedometer | Triaxial
Chart: Time [second]
Chart: Time (second)
Example from sand test

## Slide 6
Static Behavior: Sand
Sand is softer in oedometer than in the triaxial set-up at all stresses
Chart: Strain (mStrain)
| 0 | 0.56796667928817246 | 1.3252555850056853 | 1.7039000378645057 | 2.2718667171526796 | 2.6505111700113804 | 3.2184778492995401 | 3.7864445285877091 | 4.1650889814463845 | 0 | 0.65736553894651872 | 1.2702509301982385 | 1.8779375317422276 | 2.490777542497189 | 3.0657974472604224 | 3.5975007602655222 | 0 | 1.2318931381575178 | 2.3395886783149478 | 3.7421530686492592 | 5.0601793913036381 | 6.2482141767664645 | 7.1216847118026694
Oedometer test data | 0.6776 | 1.259 | 1.8978 | 2.5365 | 3.1701 | 3.8063 | 4.4476 | 5.0708 | 5.6991 | 6.4187 | 7.2738 | 8.0247
Triaxial test data | 1.9425 | 3.0631 | 4.1029 | 5.0592 | 6.0696 | 7.0691 | 7.9783
Notes: Indicating stiffer behavior of sample which testesd in triaxial test setup.

## Slide 7
Static Behavior: Kaolinite
Chart: Strain (mStrain)
| 0 | 8.8052831699019247 | 19.011406844106521 | 28.817290374224495 | 37.822693616169865 | 45.62737642585553 | 53.832299379627727 | 63.438062837702645 | 77.046227736642024 | 0 | 9.5688129080668052 | 21.056043948328135 | 31.401540884069675 | 40.422718840749319 | 48.511997243231107 | 55.647329474308385 | 0 | 4.2790376517484674 | 11.807108663275148 | 26.472339803567241 | 40.786087416751855 | 53.517833648207393 | 64.191623176629648
Oedometer test data | 0.75061 | 1.2668 | 1.8561 | 2.4792 | 3.0919 | 3.6915 | 4.3042 | 4.9169 | 5.5296 | 6.231 | 7.0653 | 8.4288
Triaxial test data | 2.005 | 3.0916 | 4.0946 | 5.0948 | 6.0953 | 7.1055 | 8.0986
Compacted kaolinite is softer in oedometer than in the triaxial set-up at all stresses
Notes: Indicating stiffer behavior of sample which testesd in triaxial test setup.
The stiffer behavior of sample tested in triaxial test setup can explain why velocity is higher in triaxial.
Answer: Higher stiffness coefficient

## Slide 8
Dynamic Behavior: Pure Sand
Chart: Net vertical stress (MPa)
| 2.15 | 3.15 | 4.1499999999999995 | 5.1499999999999995 | 6.1499999999999995 | 7.1499999999999995 | 8.15 | 0.67760453780706564 | 1.2590123391030501 | 1.8977787575672458 | 2.5365451760314377 | 3.1700971747530762 | 3.8062563833459762 | 4.447630011681472 | 5.0707531709179774 | 5.6990907498970405 | 6.4186806743709948 | 7.2738455121516434 | 8.0247219550809739
Vpz (triaxial setup) | 1968.56 | 1997.44 | 2021 | 2039.09 | 2059.53 | 2075.89 | 2091.48
Vpz (uniaxial setup) | 1864.7345 | 1883.8115 | 1902.3738 | 1921.2879 | 1936.2253 | 1949.2944 | 1962.0459 | 1974.2825 | 1985.423 | 1997.4267 | 2010.6108 | 2021.3438
Vsz (triaxial setup) | 576.005 | 616.2651 | 646.72 | 671.59 | 694.83 | 714.577 | 733.96
Vsz (uniaxial setup) | 403.2731 | 408.4563 | 433.8806 | 461.8225 | 482.1199 | 496.9659 | 513.3825 | 530.885 | 545.1998 | 559.7909 | 576.8455 | 589.7338
Chart: Net vertical stress (MPa)
| 2.15 | 3.15 | 4.1499999999999995 | 5.1499999999999995 | 6.1499999999999995 | 7.1499999999999995 | 8.15 | 0.67760453780706564 | 1.1990465120635525 | 1.8143480416862183 | 2.4270423614375813 | 3.0267006318325431 | 3.6237516923562212 | 4.2234099627511821 | 4.8282826528887055 | 5.4331553430262325 | 6.1136371194309485 | 6.9427298584987653 | 8.0507940537938047
Vpz (triaxial setup) | 2344 | 2396 | 2427 | 2457 | 2491 | 2525 | 2552
Vph (triaxial setup) | 2394 | 2429 | 2449 | 2474 | 2505 | 2535 | 2557
Vpz (uniaxial setup) | 1785.7023 | 1795.368 | 1806.21 | 1826.1608 | 1867.7785 | 1914.9505 | 1955.5458 | 1991.368 | 2024.0664 | 2056.8336 | 2100.4262 | 2131.5965
Vph (uniaxial setup) | 2021.6703 | 2028.1478 | 2035.7573 | 2052.0052 | 2096.4277 | 2141.5213 | 2175.5056 | 2213.2678 | 2247.7662 | 2281.988 | 2320.6799 | 2369.5041
Vsz (triaxial setup) | 902 | 935 | 970 | 1005 | 1032
Vsh (triaxial setup) | 1001 | 1024 | 1041
Vsz (uniaxial setup) | 348.7589 | 370.7886 | 388.6582 | 410.2304 | 460.0263 | 516.2094 | 561.0031 | 597.616 | 627.356 | 658.6922 | 691.3591 | 728.981

## Slide 9
Dynamic Behavior: Pure Kaolinite
Chart: Net vertical stress (MPa)
| 2.15 | 3.15 | 4.1499999999999995 | 5.1499999999999995 | 6.1499999999999995 | 7.1499999999999995 | 8.15 | 0.67760453780706564 | 1.1990465120635525 | 1.8143480416862185 | 2.4270423614375813 | 3.0267006318325431 | 3.6237516923562212 | 4.2234099627511821 | 4.8282826528887055 | 5.4331553430262325 | 6.1136371194309485 | 6.9427298584987653 | 8.0507940537938047
Vpz (triaxial setup) | 2344 | 2396 | 2427 | 2457 | 2491 | 2525 | 2552
Vph (triaxial setup) | 2394 | 2429 | 2449 | 2474 | 2505 | 2535 | 2557
Vpz (uniaxial setup) | 1785.7023 | 1795.368 | 1806.21 | 1826.1608 | 1867.7785 | 1914.9505 | 1955.5458 | 1991.368 | 2024.0664 | 2056.8336 | 2100.4262 | 2131.5965
Vph (uniaxial setup) | 2021.6703 | 2028.1478 | 2035.7573 | 2052.0052 | 2096.4277 | 2141.5213 | 2175.5056 | 2213.2678 | 2247.7662 | 2281.988 | 2320.6799 | 2369.5041
Vsz (triaxial setup) | 902 | 935 | 970 | 1005 | 1032
Vsh (triaxial setup) | 1001 | 1024 | 1041
Vsz (uniaxial setup) | 348.7589 | 370.7886 | 388.6582 | 410.2304 | 460.0263 | 516.2094 | 561.0031 | 597.616 | 627.356 | 658.6922 | 691.3591 | 728.981
Chart: Net vertical stress (MPa)
| 0.75060641420297691 | 1.2668339687168961 | 1.8560633996267328 | 2.4791865588632298 | 3.091880878614603 | 3.6915391490095644 | 4.3042334687609376 | 4.9169277885123401 | 5.5296221082637125 | 6.2309615636386599 | 7.0652687224490434 | 8.428839485129755 | 2.0050249500000001 | 3.0963187999999997 | 4.1356793000000014 | 5.0948122499999577 | 6.0952587499999975 | 7.0872561000000012 | 8.0985576000000012 | 0.75060641420297691 | 1.2668339687168961 | 1.8560633996267328 | 2.4791865588632298 | 3.091880878614603 | 3.6915391490095644 | 4.3042334687609376 | 4.9169277885123401 | 5.5296221082637125 | 6.2309615636386599 | 7.0652687224490434 | 8.428839485129755 | 2.0050249500000001 | 3.0963187999999997 | 4.1356793000000014 | 5.0948122499999577 | 6.0952587499999975 | 7.0872561000000012 | 8.0985576000000012
 | 1683.0992 | 1691.0044 | 1695.0697 | 1707.528 | 1731.7928 | 1761.4089 | 1787.4394 | 1811.3399 | 1840.2003 | 1862.361 | 1886.2374 | 1930.1645
 | 1852.3965 | 1881.1438 | 1918.5566 | 1949.1117 | 1981.3118 | 2008.2025 | 2040.6193
 | 272.1522 | 276.067 | 284.9383 | 306.66 | 335.2001 | 377.7168 | 408.1054 | 434.771 | 457.6479 | 481.0369 | 507.7678 | 543.4755
 | 481.0211 | 499.475 | 540.4562 | 575.9568 | 605.6352 | 632.6156 | 655.6774

## Slide 10
Dynamic Behavior: Horizontal P-Wave velocity
Chart: Net vertical stress (MPa)
| 2.4791865588632298 | 3.091880878614603 | 3.6915391490095644 | 4.3042334687609376 | 4.9169277885123366 | 5.5296221082637098 | 6.2309615636386599 | 7.0652687224490434 | 8.428839485129755 | 2.0050249500000001 | 3.0963187999999997 | 4.1356793000000014 | 5.0948122499999631 | 6.0952587499999975 | 7.0872561000000012 | 8.0985576000000012
VPh for the oedometric test system | 1849.2513 | 1873.7791 | 1901.0275 | 1926.007 | 1950.4095 | 1975.5759 | 1999.3924 | 2026.5506 | 2068.5454
VPh for the triaxial test system | 1940.7864 | 1963.9347 | 2006.6435 | 2042.3947 | 2077.3551 | 2114.7114 | 2149.5918
Chart: Net vertical stress (MPa)
| 2.15 | 3.15 | 4.1499999999999995 | 5.1499999999999995 | 6.1499999999999995 | 7.1499999999999995 | 8.15 | 0.67760453780706564 | 1.2590123391030501 | 1.8977787575672458 | 2.5365451760314377 | 3.1700971747530762 | 3.8062563833459775 | 4.447630011681472 | 5.0707531709179774 | 5.6990907498970405 | 6.4186806743709948 | 7.2738455121516434 | 8.0247219550809739
Vph (triaxial setup) | 1972.28 | 1982.25 | 1992.85 | 2003.728 | 2013.142 | 2021.59 | 2031.36
Vph (uniaxial setup) | 1891.4409 | 1895.1268 | 1901.5438 | 1908.9484 | 1916.4444 | 1923.3304 | 1930.4352 | 1937.4969 | 1944.8792 | 1953.574 | 1963.3707 | 1970.6114
Chart: Net vertical stress (MPa)
| 2.15 | 3.15 | 4.1499999999999995 | 5.1499999999999995 | 6.1499999999999995 | 7.1499999999999995 | 8.15 | 0.67760453780706564 | 1.1990465120635525 | 1.8143480416862166 | 2.4270423614375813 | 3.0267006318325431 | 3.6237516923562212 | 4.2234099627511821 | 4.8282826528887055 | 5.4331553430262325 | 6.1136371194309485 | 6.9427298584987653 | 8.0507940537938047
Vpz (triaxial setup) | 2344 | 2396 | 2427 | 2457 | 2491 | 2525 | 2552
Vph (triaxial setup) | 2394 | 2429 | 2449 | 2474 | 2505 | 2535 | 2557
Vpz (uniaxial setup) | 1785.7023 | 1795.368 | 1806.21 | 1826.1608 | 1867.7785 | 1914.9505 | 1955.5458 | 1991.368 | 2024.0664 | 2056.8336 | 2100.4262 | 2131.5965
Vph (uniaxial setup) | 2021.6703 | 2028.1478 | 2035.7573 | 2052.0052 | 2096.4277 | 2141.5213 | 2175.5056 | 2213.2678 | 2247.7662 | 2281.988 | 2320.6799 | 2369.5041
Vsz (triaxial setup) | 902 | 935 | 970 | 1005 | 1032
Vsh (triaxial setup) | 1001 | 1024 | 1041
Vsz (uniaxial setup) | 348.7589 | 370.7886 | 388.6582 | 410.2304 | 460.0263 | 516.2094 | 561.0031 | 597.616 | 627.356 | 658.6922 | 691.3591 | 728.981
Pure sand
Pure Kaolinite
So: In all cases, wave velocities are higher in the triaxial set-up, but stress sensitivities are apparently the same
Notes: From Slide 9,10,11, It can say that once the test start, both test give almost same slope of velocity increment (or identical stress sensitivity for respective wave velocity)
Which indicating that , something is different before start the test….
What it can be?

## Slide 11
Are Stress Paths the same - Effects of Sample Geometry?
PFC3D was used to simulate the two geometries, varying the number of particles, the particle size distributions, the confining wall stiffness, and the friction between the samples and the walls

## Slide 12
Sample Geometrical Effect?
Chart: Axial strain [m/m]
 | Height (mm) | Width (mm) | # balls | Min_rad (mm) | Max_rad (mm) | Wall stiff | Wall fric. | Ball fric.
Long_1 | 60 | 38 | 28416 | 0.5 | 0.9 | 1.00E+07 | 0 | 0.5
Wide_1 | 20 | 70 | 32142 | 0.5 | 0.9 | 1.00E+07 | 0 | 0.5
The simulations do not indicate any difference in stiffness resulting from sample geometry
Notes: Which indicate that sample geometry should not have any influence on static material behavior.
Then what left….??

## Slide 13: Kaolinite

## Slide 14
A Closer Look at Stress History Influence
Unloading – Reloading does not causes apparent change in P-wave velocity
Chart: Net vertical stress (MPa)
| 0.7506064142029758 | 1.2668339687168961 | 1.8560633996267311 | 2.4791865588632298 | 3.091880878614603 | 3.6915391490095644 | 4.3042334687609376 | 4.9169277885123313 | 5.5296221082637045 | 6.2309615636386599 | 7.0652687224490434 | 8.428839485129755 | 8.428839485129755 | 7.3312041293198504 | 6.603792575232049 | 5.9441684777975885 | 5.3392957876600882 | 4.7083509988097152 | 4.0591557408603887 | 3.4047460631684947 | 2.7425147558627709 | 2.0776762386857346 | 1.4102305116374299 | 0.73757036484656058 | 0.73757036484656058 | 1.2850844378158732 | 1.8534561897554447 | 2.4791865588632298 | 3.1049169279710211 | 3.7358617168213692 | 4.3589848760578249 | 4.9795008254230924 | 5.5974095649170268 | 6.3039634400345834 | 7.1956292160131632 | 8.1707257078727604
First loading | 1683.0992 | 1691.0044 | 1695.0697 | 1707.528 | 1731.7928 | 1761.4089 | 1787.4394 | 1811.3399 | 1840.2003 | 1862.361 | 1886.2374 | 1930.1645
Unloading | 1930.1645 | 1929.438 | 1918.2681 | 1917.5964 | 1913.5031 | 1905.0119 | 1892.362 | 1880.8088 | 1866.2326 | 1845.1009 | 1820.982 | 1789.5537
second loading | 1789.5537 | 1794.3852 | 1802.0069 | 1811.661 | 1831.2996 | 1845.6377 | 1859.9003 | 1880.0934 | 1892.0074 | 1908.9438 | 1929.9765
Kaolinite
Notes: In case of velocity difference: this showing that for clay there should not be any velocity difference…..but
In case of strain: yes this can create difference.

## Slide 15
Stress Path (Prior to test start): Oedometer
Chart: Tme (second)
| 0 | 0 | 300 | 300 | 600 | 600 | 900 | 900 | 1000 | 1300
 | 0 | 0.7 | 0.7 | 1.4 | 1.4 | 2.1 | 2.1 | 2.7 | 2.7 | 2.7
 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
Only for Clay
σz = 2.7MPa
Pf = 2
σr = ??
Are the Samples equal?
Note: Effective unloading when pore pressure was ramped up to the test level @ 2 MPa

## Slide 16
Stress Path (Prior to test start): Triaxial
Are the Samples equal?

## Slide 17
New Kaolinite test in Triaxial set-up: K0 from the start
Chart: Strain (mStrain)
| 0 | 8.8052831699019247 | 19.011406844106521 | 28.817290374224495 | 37.822693616169836 | 45.62737642585553 | 53.832299379627727 | 63.438062837702645 | 77.046227736642024 | 0 | 9.5688129080668052 | 21.056043948328149 | 31.401540884069689 | 40.422718840749269 | 48.511997243231136 | 55.647329474308414 | 0 | 4.2790376517484674 | 11.807108663275148 | 26.472339803567291 | 40.786087416751855 | 53.517833648207422 | 64.191623176629648
Oedometer test data | 0.75061 | 1.2668 | 1.8561 | 2.4792 | 3.0919 | 3.6915 | 4.3042 | 4.9169 | 5.5296 | 6.231 | 7.0653 | 8.4288
Triaxia test datal (Old) | 2.005 | 3.0916 | 4.0946 | 5.0948 | 6.0953 | 7.1055 | 8.0986
Triaxia test datal (New) | 2.0499 | 3.0295 | 4.0246 | 5.0226 | 6.039 | 7.0402 | 7.9883
Static behavior got closer to that measured in the oedometer test, because of less reduced porosity during pre-conditioning of the sample

## Slide 18
New Kaolinite test in Triaxial set-up: K0 from the start
Chart: Net Ver. Stress (Mpa)
| 0.75060641420297503 | 1.2668339687168961 | 1.8560633996267299 | 2.4791865588632298 | 3.091880878614603 | 3.6915391490095644 | 4.3042334687609376 | 4.9169277885123233 | 5.5296221082637 | 6.2309615636386599 | 7.0652687224490434 | 8.428839485129755 | 2.0050249500000001 | 3.0963187999999997 | 4.1356793000000014 | 5.0948122499999764 | 6.0952587499999975 | 7.0872561000000012 | 8.0985576000000012 | 2.0429115500000012 | 3.0326695499999987 | 4.0263729500000007 | 5.0303692500000023 | 6.0314940500000001 | 7.0391592999999997 | 7.9862496000000194
Oedometer test data | 1683.0992 | 1691.0044 | 1695.0697 | 1707.528 | 1731.7928 | 1761.4089 | 1787.4394 | 1811.3399 | 1840.2003 | 1862.361 | 1886.2374 | 1930.1645
Triaxial test data (Old) | 1852.3965 | 1881.1438 | 1918.5566 | 1949.1117 | 1981.3118 | 2008.2025 | 2040.6193
Triaxial test data (New) | 1789.8255 | 1808.5904 | 1827.1366 | 1851.3259 | 1880.9129 | 1906.1745 | 1930.5138
Vertical P-wave velocity got closer to that measured in the oedometer test
Notes: And velocity difference almost disappear for vertical P wave velocity

## Slide 19
New Kaolinite test in Triaxial set-up: K0 from the start
Chart: Net Ver. Stress (Mpa)
| 0.75060641420297503 | 1.2668339687168961 | 1.8560633996267299 | 2.4791865588632298 | 3.091880878614603 | 3.6915391490095644 | 4.3042334687609376 | 4.9169277885123233 | 5.5296221082637 | 6.2309615636386599 | 7.0652687224490434 | 8.428839485129755 | 2.0050249500000001 | 3.0963187999999997 | 4.1356793000000014 | 5.0948122499999764 | 6.0952587499999975 | 7.0872561000000012 | 8.0985576000000012 | 2.0429115500000012 | 3.0326695499999987 | 4.0263729500000007 | 5.0303692500000023 | 6.0314940500000001 | 7.0391592999999997 | 7.9862496000000194
Oedometer test data | 1821.6428 | 1827.893 | 1835.1849 | 1849.2513 | 1873.7791 | 1901.0275 | 1926.007 | 1950.4095 | 1975.5759 | 1999.3924 | 2026.5506 | 2068.5454
Triaxial test data (Old) | 1940.7864 | 1963.9347 | 2006.6435 | 2042.3947 | 2077.3551 | 2114.7114 | 2149.5918
Triaxial test data (New) | 1874.0264 | 1893.2145 | 1915.3465 | 1951.2537 | 1991.5789 | 2033.8648 | 2063.0973
Horizontal P-wave velocity got closer to that measured in the oedometer test
Notes: Differece is gone away for horizontal P-wave velocity

## Slide 20: Sand

## Slide 21
Chart: Strain (m strain)
| 0 | 0.54724553082818606 | 1.0944910616563721 | 1.8241517694272433 | 2.1889821233127424 | 2.7362276541409281 | 3.1010580080262988 | 3.6483035388544858 | 4.1955490696826701 | 4.5603794235680413 | 0 | 0.65836935553463793 | 1.254934104935056 | 1.8808963401303382 | 2.4907775424971814 | 3.0644995650533553 | 3.6145148161071545 | 0 | 0.65540751309927414 | 1.4320951625653855 | 2.5167376339547936 | 3.5453279222063143 | 4.5019558330593759 | 5.4050245028851398 | 0 | 0.7180243955912351 | 1.4959370633946252 | 2.6629239103890048 | 3.7781649417015295 | 4.8538218710743051 | 5.7959691758241521 | 0 | 1.2315265395477182 | 2.3396501002463475 | 3.737803134615322 | 5.0594683098559354 | 6.2465681999413389 | 7.1212100262791926
OS uniaxial | 1.8978 | 2.5365 | 3.1701 | 3.8063 | 4.4476 | 5.0708 | 5.6991 | 6.4187 | 7.2738 | 8.0247
TS hydrostatic | 1.9425 | 3.061 | 4.0591 | 5.0729 | 6.0696 | 7.0625 | 8.0823
TS1 uniaxial | 1.9905 | 2.9891 | 3.9909 | 4.9899 | 5.9942 | 6.9883 | 7.9946
TS2 uniaxial | 2.0001 | 3.0064 | 4.0126 | 5.0082 | 6.0099 | 7.0132 | 8.0033
Static behavior got closer to that measured in the oedometer test (to some extent), but deviated at higher stress level
New Sand test in Triaxial set-up: K0 from the start

## Slide 22
Chart: Net vertical stress (MPa)
| 2.5365451760314421 | 3.1700971747530762 | 3.8062563833459899 | 4.447630011681472 | 5.0707531709179774 | 5.6990907498970405 | 6.4186806743709948 | 7.2738455121516399 | 8.0247219550809739 | 1.9480129000000022 | 3.06280135 | 4.0698496500000001 | 5.0652832499999958 | 6.0699786499999959 | 7.0620578999999939 | 8.0718777499999987 | 1.9905546000000001 | 2.9929328999999987 | 3.9881435000000001 | 4.9897181000000037 | 5.9985226999999997 | 6.9884716999999998 | 7.9886737000000041 | 2.0001088500000002 | 3.00080145 | 4.0045191499999957 | 5.0199044499999959 | 6.0038116000000006 | 7.0090339000000004 | 8.0032668000000005
OS uniaxial | 1921.2879 | 1936.2253 | 1949.2944 | 1962.0459 | 1974.2825 | 1985.423 | 1997.4267 | 2010.6108 | 2021.3438
TS hydrostatic | 1990.405 | 2018.5526 | 2042.2458 | 2062.3993 | 2081.7879 | 2099.4418 | 2115.7459
TS1 uniaxial | 1995.3792 | 2017.8052 | 2039.1709 | 2060.852 | 2078.9884 | 2097.3213 | 2113.1623
TS2 uniaxial | 1988.2683 | 2014.0793 | 2036.0435 | 2057.2698 | 2077.3248 | 2095.2342 | 2113.2838
P-wave velocity show a perfect match to each other tested in triaxial system and Oedometric velocity still too low
New Sand test in Triaxial set-up: K0 from the start

## Slide 23
Chart: Net vertical stress (MPa)
| 2.5365451760314421 | 3.1700971747530762 | 3.8062563833459899 | 4.447630011681472 | 5.0707531709179774 | 5.6990907498970405 | 6.4186806743709948 | 7.2738455121516399 | 8.0247219550809739 | 1.9480129000000022 | 3.06280135 | 4.0698496500000001 | 5.0652832499999958 | 6.0699786499999959 | 7.0620578999999939 | 8.0718777499999987 | 1.9905546000000001 | 2.9929328999999987 | 3.9881435000000001 | 4.9897181000000037 | 5.9985226999999997 | 6.9884716999999998 | 7.9886737000000041 | 2.0001088500000002 | 3.00080145 | 4.0045191499999957 | 5.0199044499999959 | 6.0038116000000006 | 7.0090339000000004 | 8.0032668000000005
OS uniaxial | 1908.9484 | 1916.4444 | 1923.3304 | 1930.4352 | 1937.4969 | 1944.8792 | 1953.574 | 1963.3707 | 1970.6114
TS hydrostatic | 1993.2274 | 2003.0052 | 2012.7855 | 2023.2178 | 2032.6683 | 2040.478 | 2049.8795
TS1 uniaxial | 2017.7311 | 2023.6707 | 2034.2966 | 2045.8116 | 2055.2253 | 2068.3911 | 2078.7611
TS2 uniaxial | 1985.6029 | 1994.0876 | 2001.9841 | 2016.8813 | 2028.0406 | 2038.1722 | 2049.124
P-wave velocity show a perfect match to each other tested in triaxial system and Oedometric velocity still too low
New Sand test in Triaxial set-up: K0 from the start

## Slide 24
Chart: Net vertical stress (MPa)
| 2.5365451760314421 | 3.1700971747530762 | 3.8062563833459899 | 4.447630011681472 | 5.0707531709179774 | 5.6990907498970405 | 6.4186806743709948 | 7.2738455121516399 | 8.0247219550809739 | 1.9425264999999998 | 3.0609511999999999 | 4.0590700000000002 | 5.0728590499999964 | 6.0696096500000003 | 7.0625119999999937 | 8.0822677499999998 | 1.9905245999999999 | 2.9891169 | 3.9908577999999997 | 4.9898863000000002 | 5.9941627999999998 | 6.9882588000000014 | 7.9946443999999985 | 2.0001088500000002 | 3.0063505500000005 | 4.0125954999999962 | 5.0082350499999961 | 6.0098737999999994 | 7.0131517000000008 | 8.0032668000000005
OS uniaxial | 34.1113 | 34.0738 | 34.0238 | 33.9987 | 33.9611 | 33.936 | 33.8983 | 33.8605 | 33.8353
TS hydrostatic | 33.1857 | 33.1216 | 33.0618 | 32.9994 | 32.9387 | 32.8812 | 32.8263
TS1 uniaxial | 33.1359 | 33.0703 | 32.9927 | 32.884 | 32.7813 | 32.6856 | 32.5954
TS2 uniaxial | 33.0711 | 32.9991 | 32.9215 | 32.8048 | 32.6933 | 32.5857 | 32.4915
Higher porosity for Oedometric test explain the lower P-wave velocities
New Sand test in Triaxial set-up: K0 from the start

## Slide 25
Theoretical Consideration
Chart: Stress (MPa)
| 0 | 1.5843827513716821E-4 | 0.50447769720823932 | 1.321510330909768 | 2.4249011253711394 | 3.7018146315537828 | 5.0454575092720679 | 0 | 1.0711320009273181E-4 | 0.34105534459148579 | 0.89341543498124465 | 1.6393697748987983 | 2.5026352438673491 | 3.4110135273951987 | 3.7944146999999999 | 4.9149447999999945 | 5.9183857 | 6.9085967000000004 | 7.9122793000000033 | 8.9064047000000048 | 9.9064550000000047
 | 0 | 191.3446 | 733.9143 | 861.6841 | 953.4156 | 1023.0533 | 1077.2277
 | 0 | 157.3286 | 603.4438 | 708.4995 | 783.9235 | 841.1815 | 885.7251
 | 1020.8788 | 1085.9261 | 1135.0518 | 1174.5341 | 1217.1335 | 1249.9082 | 1282.5912
Chart: Stress (MPa)
| 0 | 0.21900905866197162 | 0.86570931697629661 | 1.7520724692953054 | 2.8249197358028635 | 4.4983575647663674 | 5.4273829637703361 | 6.9256745358110638 | 7.9900796059756534 | 9.6789244075702889 | 11.472396069579045 | 12.723276552992418 | 0 | 0.14806246219400951 | 0.58526827063185727 | 1.1844996975517459 | 1.9098048918103858 | 3.0411431423772615 | 3.669216651563044 | 4.6821461650553671 | 5.4017439589694574 | 6.5434981910334997 | 7.7559860752082646 | 8.6016517541357089 | 2.6776045378070652 | 3.2590123391030152 | 3.8977787575672482 | 4.5365451760314395 | 5.1700971747530824 | 5.8062563833459917 | 6.447630011681472 | 7.0707531709179774 | 7.6990907498970405 | 8.4186806743709948 | 9.2738455121516363 | 10.024721955080969
 | 0 | 643.3484 | 808.8509 | 909.5689 | 984.8008 | 1063.9938 | 1097.7072 | 1143.0593 | 1170.5093 | 1208.3453 | 1242.8891 | 1264.3899
 | 0 | 528.9781 | 665.0586 | 747.8716 | 809.7293 | 874.8439 | 902.5639 | 939.8536 | 962.4237 | 993.5335 | 1021.9363 | 1039.6148
 | 837.9403 | 894.3404 | 940.8909 | 985.676 | 1019.9224 | 1049.2899 | 1077.4531 | 1103.0203 | 1126.5109 | 1151.2827 | 1177.7893 | 1199.3983
Triaxial test system
Uniaxial test system
Velocities are computed for dry velocities by removing the fluid contribution according to Biot-Gassmann
Walton Grain Contact Model rough and smooth limits are shown (coord. # = 6)
The enhanced confinement during the pre-conditioning in the triaxial set-up has moved the sand in direction of the rough contact limit
Vertical P-waves
S-waves

## Slide 26
Conclusions
Difference in geometry of the sample does not have influence on wave velocity
Precompaction was different in the triaxial and oedometric set-up
  Complete unloading before testing in triaxial set-up, incomplete effective unloading (with clay) in oedometer
  Tests in triaxial set-up started from hydrostatic stress causing higher mean stress than in the oedometer
Clay specimens were primarily affected by reduced porosity in the triaxial set-up, leading to stiffer static behavior and increased velocities
Sand specimens were primarily affected by the increased pre-stress in the triaxial set-up, alteraing the grain contact stiffness and reducing contact slip

## Slide 27
Conclusions
The sand experiments demonstrate that the static and dynamic response did not depend on the stress path prior to the uniaxial strain test
The wave velocities do however depend strongly on the initial degree of compaction of the sand, i.e. on its porosity

## Slide 28
Acknowledgement
ROSE program @ NTNU funded by Norwegian Research Council and sponsoring companies

## Slide 29
Thank You

## Slide 30
Dynamic Behavior
Prior to exploring the difference in static and dynamic behavior,
an obvious question can be raised:
Can these differences be explained by the measurement uncertainty?
Answer: Perhaps the horizontal P-velocity can be explained,
but not the vertical P- and S- wave velocities